# BE 210

Determination of Calcium Content of Breakfast Foods

# Group W6

Final Report

May 7, 1999

Jennifer Friel –Presenter

Rainer Hahn - Scribe

Patrick Lee - Facilitator

Ameesha Patel – Time and Task

Abstract

The objectives of this experiment were to determine the calcium content of three breakfast foods using atomic absorption spectrophotometry and to identify a calcium extraction procedure that gives the most precise and accurate results.

The three breakfast foods tested in this experiment were skim milk, orange juice and Egg Beater’s brand egg substitute. It was concluded that skim milk had the highest calcium content of 143.95 mg/100g  3.1%, followed by orange juice with 42.64 mg/100g  5.5% and liquid egg substitute with 11.53 mg/100g  2.1%.   The value for the egg substitute was not statistically different from published results; however, the skim milk and orange juice values were both outside the 95% confidence intervals of the USDA published values.

In addition, HCl was determined to be more efficient at extracting calcium from the food samples than TCA.  A one-hour extraction period and 20 minute spin time were established as the optimal conditions for the extraction.

Background

An extensive calcium deficiency in the United States promotes a variety of ailments in the population including certain types of cancer, Alzheimer's disease, arthritis, heart disease, and osteoporosis. In order to reduce the deficiency and its associated risk for disease, the USDA recommends a daily calcium intake of 1000 mg a day (Briefel).

Research shows that dairy foods are the largest contributor of calcium to the U.S. diet, looking at both individual and the overall American diets.  However, significant amounts of calcium come from several non-dairy sources, and it is important to note the calcium contribution from these foods.

To determine the calcium content of a food sample, spectrophotometry is used to observe radiation emission and absorbance.  Specifically in this experiment, atomic absorption spectrophotometry was used with the Perkin-Elmer Model AA 4000 Atomic Absorption Spectrophotometer.  Atomic absorption spectrophotometry is based on the principle that all elements have specific electron configurations.  The “ground state” of an atom refers to its normal and most stable orbital configuration.  In atomic absorption, the atom absorbs light energy and an outer electron of the atom is promoted to an unstable configuration known as the “excited state”.  The amount of light energy absorbed is proportional to the number of atoms present.  Therefore, measurement of the light absorbed can be used to determine the concentration of a sample.  Special light sources can be used and wavelengths can be specifically selected to determine the concentration of a particular element (Castellan).

For the food samples used in this experiment, the calcium ions must first be extracted before they can be analyzed by the spectrophotometer. In most foods, calcium is in the form of calcium phosphate that is bound to proteins. One widely practiced method for calcium extraction is acid precipitation using trichloroacetic acid or hydrochloric acid. During acid precipitation, the acid breaks up the proteins and releases the calcium phosphates into solution. In some cases, trichloroacetic acid is more efficient at breaking down the proteins that tie-up the calcium ions in solution.  However, since both methods are popular, the additional benefits from trichloroacetic acid are unclear (Perkin-Elmer).

Materials and Methods

- Lehigh Valley Skim Milk

- Tropicana Orange Juice

- Egg Beaters, liquid egg substitute

- Sigma primary standard CaCO3

- Concentrated HCl

- Sigma Lanthanum Chloride (LaCl3 • 7H2O)

- 50 ml screw top centrifuge tubes (Falcon Tubes)

- Centrifuge

- Micropipets

After two weeks of performing the calcium extraction and determining the calcium content of the three breakfast foods, the original protocol was modified to yield the most accurate and precise results. Each week, ten trials were performed for each food sample. The following tables show the final procedure for calcium extraction from skim milk, orange juice, and egg substitute using concentrated HCl.

| ### Skim Milk |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Step | Description | Milk | HCl | dH2O | 5% La | Total Volume |
| 1 | Take an aliquot of sample using a micropipet and weigh on an analytic balance | .10 ml |  |  |  | Calculate using density |
| 2 | Add concentrated HCl and dH20 to sample into a 50 ml falcon tube |  | .25 ml | 4.65 ml |  |  5 ml |
| 3 | Cover tube and swirl every 5 min for 60 min |  |  |  |  |  |
| 4 | Add 5% Lanthanum and dH2O |  |  | 44 ml | 1 ml | 50 ml |
| 5 | Centrifuge for 20 min at 2500 rpm |  |  |  |  |  |
| 6 | Blank spectrophotometer and measure absorbance of supernatant |  |  |  |  |  |
| Dilution Factor = 50ml  (Mass of sample/density of sample) |  |  |  |  |  |  |

Table 1: Extraction and Dilution of Skim Milk

| ### Orange Juice |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Step | Description | OJ | HCl | dH2O | 5% La | Total Volume |
| 1 | Take an aliquot of sample using a micropipet and weigh on an analytic balance | 1.25 ml |  |  |  | Calculate using density |
| 2 | Add concentrated HCl to sample into a 50 ml falcon tube |  | 1.25 ml |  |  |  2.5 ml |
| 3 | Cover tube and swirl every 5 min for 60 min |  |  |  |  |  |
| 4 | Add 5% Lanthanum and dH2O |  |  | 42.5 ml | 5 ml | 50 ml |
| 5 | Centrifuge for 20 min at 2500 rpm |  |  |  |  |  |
| 6 | Blank spectrophotometer and measure absorbance of supernatant |  |  |  |  |  |
| Dilution Factor = 50ml  (Mass of sample/density of sample) |  |  |  |  |  |  |

Table 2: Extraction and Dilution of Orange Juice

| ### Egg Substitute |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Step | Description | Egg Substitute | HCl | dH2O | 5% La | Total Volume |
| 1 | Take an aliquot of sample using a micropipet and weigh on an analytic balance | .25 ml |  |  |  | Calculate using density |
| 2 | Add concentrated HCl and dH20 to sample into a 50 ml falcon tube |  | .25 ml | 4.5 ml |  |  5 ml |
| 3 | Cover tube and swirl every 5 min for 60 min |  |  |  |  |  |
| 4 | Add 5% Lanthanum and dH2O |  |  | 44 ml | 1 ml | 50 ml |
| 5 | Centrifuge for 20 min at 2500 rpm |  |  |  |  |  |
| 6 | Blank spectrophotometer and measure absorbance of supernatant |  |  |  |  |  |
| Dilution Factor = 50ml  (Mass of sample/density of sample) |  |  |  |  |  |  |

Table 3: Extraction and Dilution of Egg Substitute

Before the absorbances of each sample were measured on the spectrophotometer, the spectrophotometer was blanked with a solution containing acid and lanthanum to account for any background calcium. The following table shows the percent composition of the blanks used for each sample.

Table 4: Percent composition of the Blanks

After the absorbances of each sample were measured, they were converted into concentrations using a calibration curve. The calibration curves were constructed according to the protocol given in the Perkin-Elmer Manual.  A 500 ppm standard stock solution was made from primary standard calcium carbonate.  Dilutions within the working range of calcium (5, 4, 3, 2, 1 ppm solutions) were made and their absorbances measured in triplicate at 422.7 nm, first blanking with de-ionized water.  A plot of absorbance (au) vs. concentration (ppm) was constructed with error bars, and the results are given in the Appendix for each week.

Results

##### Week 1:

##### A calibration curve from known calcium concentrations and their absorbances was prepared and is shown in the Appendix I. The equation found from this curve to convert absorbance to calcium concentration was Abs = 0.0639*C +0.0079 with a R2 value of 0.999484. Using regression analysis, the uncertainty associated in the conversion of the absorbance to concentration was 0.27% and is given in Appendix I.

##### During the first week, the time effect on extraction and the most efficient acid for extraction were determined.  Three different extraction times (1,2, and 3 hours) and two different acids (HCl and TCA) were investigated.  After each test, the calcium concentrations were calculated and used to construct graphs comparing results as shown in Figures 3, 4, and 5 in Appendix I.  Inspection of the extraction time data revealed a general decrease in calcium concentration with increased extraction time. It was observed that the one-hour extraction time yielded the highest calcium concentrations.  The acid comparison showed that in all time trials, HCl extracted more calcium than TCA and thus would be the acid of choice in proceeding trials. Optimal spin time was determined to be 20 minutes by visual inspection of the samples.  After spinning 10 minutes, the precipitate still appeared suspended in solution but after 20 minutes the entire sample appeared to have pelleted.  The visual difference between the 20-minute and 30-minute spin time samples was indistinguishable.  Thus, 20 minutes was chosen as the optimal spin down time.

##### Week 2:

In the second week of trials, the procedure was changed to determine if a higher concentration of acid would be more efficient in extracting calcium.  The calibration curve for this week was Abs = 0.0627*C+ 0.0103 with a R2 value of 0.999647.  Based on regression analysis the uncertainty in this calibration curve was found to be 0.22%.  See results in Appendix II.

Upon the addition of the extraction acid (HCl), water was not added to the sample.  The acid was added directly to the sample and left undiluted during the entire extraction period.  This increased the relative concentration of acid digesting the sample.  This method resulted in visual clumping of the samples and lead to highly imprecise and inaccurate results. The average calcium concentrations and their standard deviations from week 2 are given below.

| Sample | avg. abs. | ppm | density (g/ml) | Calcium (mg/100g) | Standard Deviation |
| --- | --- | --- | --- | --- | --- |
| Skim Milk | 0.271 | 2080 | 1.0073 | 207 | +/- 4.0% |
| Orange Juice | 0.207 | 126 | 1.0204 | 12 | +/- 21.7% |
| Egg Substitute | 0.086 | 243 | 0.8644 | 28 | +/- 11.8% |

Table 5 Week 2 data

Week 3:

Due to the high uncertainty found in week 2 trials, the original method for extraction in which the samples were diluted at the time of acid addition was reinstated.  In order to decrease the high uncertainties of week 1 trials, masses and densities were used to calculate the actual volume of sample used and the associated dilution factors.  The calibration curve for week 3 was Abs = 0.0694*C + 0.0134 with an R2 value of 0.99928. The uncertainty as determined through regression analysis was 0.34%.  The results of week 3 are given below.

| Sample | avg. abs. | ppm | density (mg/ml) | Calcium (mg/100g) | Standard Deviation |
| --- | --- | --- | --- | --- | --- |
| Skim Milk | 0.227 | 1469 | 1.0073 | 144 | +/- 3.1% |
| Orange Juice | 0.224 | 118 | 1.0204 | 12 | +/- 2.1% |
| Egg Substitute | 0.143 | 435 | 0.8644 | 43 | +/- 5.5% |

Table 6 Week 3 data

The individual factors of systematic uncertainty and their values are given in Table 13 of Appendix IV.   The total systematic uncertainty for each sample is given below.

| Sample | Systematic Uncertainty |
| --- | --- |
| Skim Milk | +/- 3.9% |
| Orange Juice | +/- 3.5% |
| Egg Substitute | +/- 7.9% |

Table 7 Systematic Uncertainty

###### Discussion

##### Week 1:

##### The 0.27% error in the calibration curve comes from uncertainty in the dilution preparations and error in the spectrophotometer as given in the AAS instrumentation manual. See Table 13 in Appendix IV.

From the length of extraction time data it was concluded that allowing more time for the extraction did not lead to more calcium extraction.  In fact, the amount of calcium released slightly decreased the longer the extraction time.  However, it was concluded that calcium concentrations were not statistically different for each time trial due to the systematic uncertainty involved. As seen in error bars on the graphs, the data all fall within the uncertainty ranges of one another, showing that they are not significantly different.  Therefore, 1 hour was chosen as the optimal extraction time to yield the maximum calcium concentration in the samples.

For spin time determination, a visual confirmation that 20 minutes was sufficient to pellet the entire sample was used.  All samples after this determination were spun for 20 minutes in the centrifuge.

The acid comparison plots displayed greater calcium concentrations when HCl was the extraction acid than when TCA was used.  Regardless of the length of time allowed for extraction, HCl consistently yielded higher calcium concentrations.  This contradicted the predicted results based on the premise that TCA would be more efficient at breaking down the proteins in the food sample, thus releasing more calcium (Perkin-Elmer).  Using these results it was concluded that HCl was more efficient at extracting calcium, and so this extraction method was used in all subsequent trials.

Week 2:

The amended procedure used in week 2 caused large scatter in the data and lead to high uncertainty.  The concentrated acid extraction produced clumping of the samples, most likely due to the decreased volume for which the extraction could take place.  This clumping may have been what prevented the calcium ions from being released, giving rise to the results seen for this set of trials.  A T-test of significance comparing week 2 data to literature values for the calcium concentration of the samples is given below (USDA values for skim milk and orange juice and packaging data for the Egg Beaters – see Table 14 in Appendix IV).  Since T-Stat < T-Crit for all samples, the data are statistically different from the literature values.

| Sample | T – Critical | T- Statistical |
| --- | --- | --- |
| Skim Milk | 2.26 | 5.96 |
| Orange Juice | 2.26 | 7.88 |
| Egg Substitute | 2.26 | 14.9 |

Table 8 T-Test Week 2 trials

Week 3:

Returning to the original method produced much more precise results than the method used during week 2.  There was no clumping observed during extraction and so the calcium ions were released in a more consistent manner.  The standard deviations among the trials were lower than from those of the previous week.

A test of significance was done for week 3 trails and is summarized below.

| Sample | T - Critical | T- Statistical |
| --- | --- | --- |
| Skim Milk | 2.26 | 13.47 |
| Orange Juice | 2.26 | 6.69 |
| Egg Substitute | 2.26 | 1.45 |

Table 9 T-Test Week 3 trials

As can be seen, the T-test fails for skim milk and orange juice showing that week 3 data are statistically different from the literature values.  The egg substitute does pass the T-test, so it is comparable to the literature value. A comparison of week 2 and week 3       T-Stats show that week 2 trials came closer to the literature value for the milk samples but week 3 trials closer for the egg substitute and orange juice samples. This is deceiving, however, since the high uncertainty in week 2 trials decreased the precision and therefore credibility of these results significantly, even though skim milk showed higher accuracy to literature values in week 2.

###### Conclusion

The systematic uncertainties for each sample indicate high accuracy.  For the skim milk and orange juice the uncertainty is less than  4.0 %.  The egg substitute had a greater uncertainty though, of almost 8.0%.  This is accredited to the viscosity of the egg substitute.  The consistency of the Egg Beaters made pipeting the egg substitute difficult, and increased the uncertainty in the density value (less than 1.0 % for milk and orange juice while 5.6% for egg substitute).  This increase in density uncertainty contributed to the overall systematic uncertainty, and resulted in the egg substitute having a systematic uncertainty almost twice that of skim milk and orange juice.

Week 3 data showed precision within the systematic limitations of the experiment.  This lead to the conclusion that the calculated standard deviations of week 3 were due primarily to systematic uncertainty.

Although the procedure for determining the calcium content in the experiment was the same as that used by the USDA, comparison of experimental results showed a statistical difference between W6 data and USDA values for skim milk and orange juice.  The egg substitute values were found to be within the 95% confidence limits of the literature values.   The values for both the skim milk and orange juice were higher than those published by the USDA.  It seems unlikely that the USDA would publish calcium contents lower than actual results; this suggests a need for reevaluation of both the USDA and W6 procedure.

References

## Briefel, RR.  “Assessment of the U.S. Diet in National Nutrition Surveys:  National

Collaborative Efforts and NHANES.  American Journal of Clinical Nutrition

1994;  59:  164-167.

Cambell, J.  Calcium and Health.  http://www.vvv.com/~jcambell/calcium.html

Castellan, G.  Physical Chemistry.  Benjamin/Cummings, 1983.

Dept. of Chemistry – University of Pennsylvania.  General Chemistry Lab Manual.

1997.

Fastats.  http://www.cdc.gov/nchswww/fastats/diet.htm

Gershoff, Stanley.  Total Nutrition.  Harper & Row, 1990.

Litt, M., A. Giandomenico.  BE 210 Lab Manual.  1999.

Perkin-Elmer.  http://www.perkin-elmer.com

University of Illinois. Nutrient Analysis Tool.  http://www.ag.uiuc.edu/~food-

lab/nat/nat.cgi

Van Loon, Jon.  Analytical Atomic Absorption Spectroscopy.  Academic Press, 1980.

Watt, Bernice K.  Composition of Foods - US Dept. of Agriculture.  1975.

Appendix

##### Appendix I – Week 1

| Ca Conc. (ppm) ( 0.6%) | Absorbance (au) ( 1.5%) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | avg |
| 5 | 0.330 | 0.330 | 0.330 | 0.330 |
| 4 | 0.261 | 0.260 | 0.260 | 0.260 |
| 3 | 0.199 | 0.200 | 0.200 | 0.200 |
| 2 | 0.134 | 0.136 | 0.135 | 0.135 |
| 1 | 0.073 | 0.073 | 0.073 | 0.073 |

Table 10  Calibration Curve Data - Week 1

Figure 1  Calibration Curve – Week 1

| Regression Statistics – Week 1 |  |  |
| --- | --- | --- |
| Multiple R | 0.999742 |
| R Square | 0.999484 |
| Adjusted R Square | 0.999311 |
| Standard Error | 0.002652 |
| Observations | 5 |

|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% |
| --- | --- | --- | --- | --- | --- | --- |
| Intercept | 0.0079 | 0.002781 | 2.840208 | 0.065635 | -0.00095 | 0.016752 |
| X Variable 1 | 0.0639 | 0.000839 | 76.19391 | 4.98E-06 | 0.061231 | 0.066569 |

Figure 2 Regression Statistics Plot - Week 1

Figure 3  Orange Juice – Extraction Time Comparison

Figure 4  Skim Milk – Extraction Time Comparison

Figure 5 Egg Substitute – Extraction Time Comparison

##### Appendix II - Week 2

| Ca Conc. (ppm) ( 0.6%) | Absorbance (au) ( 1.5%) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | avg |
| 5 | 0.325 | 0.324 | 0.326 | 0.325 |
| 4 | 0.258 | 0.259 | 0.258 | 0.258 |
| 3 | 0.198 | 0.198 | 0.199 | 0.198 |
| 2 | 0.137 | 0.138 | 0.138 | 0.138 |
| 1 | 0.072 | 0.072 | 0.072 | 0.072 |

Table 11 Calibration Curve Data - Week 2

Figure 6 Calibration Curve - Week 2

| Regression Statistics - Week 2 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Multiple R | 0.999823 |  |  |  |  |  |  |
| R Square | 0.999647 |  |  |  |  |  |  |
| Adjusted R Square | 0.999529 |  |  |  |  |  |  |
| Standard Error | 0.00215 |  |  |  |  |  |  |
| Observations | 5 |  |  |  |  |  |  |
|  | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% |
| Intercept | 0.010267 |  | 0.002255 | 4.553105 | 0.019854 | 0.003091 | 0.017443 |
| X Variable 1 | 0.062667 |  | 0.00068 | 92.17458 | 2.81E-06 | 0.060503 | 0.06483 |

Figure 7  Regression Statistics Plot - Week 2

Appendix III -Week 3

| Ca Conc. (ppm) ( 0.6%) | Absorbance (au) ( 1.5%) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | avg |
| 5 | 0.330 | 0.330 | 0.330 | 0.330 |
| 4 | 0.261 | 0.260 | 0.260 | 0.260 |
| 3 | 0.199 | 0.200 | 0.200 | 0.200 |
| 2 | 0.134 | 0.136 | 0.135 | 0.135 |
| 1 | 0.073 | 0.073 | 0.073 | 0.073 |

Table 12 Calibration Curve Data  - Week 3

Figure 8 Calibration Curve – Week 3

| Regression Statistics – Week3 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Multiple R | 0.99964331 |  |  |  |  |  |
| R Square | 0.99928674 |  |  |  |  |  |
| Adjusted R Square | 0.99904899 |  |  |  |  |  |
| Standard Error | 0.00338351 |  |  |  |  |  |
| Observations | 5 |  |  |  |  |  |
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% |
| Intercept | 0.01336667 | 0.003548657 | 3.766684 | 0.03274 | 0.002073247 | 0.02466009 |
| X Variable 1 | 0.06936667 | 0.00106996 | 64.83107 | 8.09E-06 | 0.065961573 | 0.07277176 |

Figure 9  Regression Statistics Plot - Week 3

Appendix IV

Table 13  Systematic Uncertainty Sources and Values

| Food | Sample (g) | USDA (mg) | U of I (mg) | Packaging (mg) |
| --- | --- | --- | --- | --- |
| Egg Beaters | 100 | * | 56 | 33 |
| Skim Milk | 100 | 121 | 123 | 122 |
| OJ | 100 | 11 | 11 | 8 |

Table 7  Comparison of  Literature Data